## Sheet1
DATETIME | FLASHBOARDS | GATE 1 | GATE 2 | GATE 3 | ACTION | REMARKS
2018-05-08 10:00 | OUT | Open | Open | Open | Flashboards Removed
2018-07-27 14:50 | IN | Open | Open | Open | Flashboards Installed
2018-08-02 08:39 | IN | Tidal | Tidal | Tidal | Tidal Operations | Manual Operations.
2018-09-07 13:34 | IN | Open | Open | Open | Open Position
2018-10-17 15:06 | IN | Tidal | Tidal | Tidal | Tidal Operations
2019-01-23 15:05 | IN | Open | Open | Open | Open Position
2019-05-07 12:00 | OUT | Open | Open | Open | Flashboards Removed | Specific log entry missing. Boat Lock Operator reported off at 12:00, which can only have occurred because he was no longer required.
2019-10-01 13:06 | IN | Open | Open | Open | Flashboards Installed | Start of Control Season.
2019-11-15 14:07 | IN | Tidal | Tidal | Tidal | Tidal Operations | Tidal mode works for opening, but must be closed manually. During flashboards install in July 2018, a boat damaged the flow meter.
2019-12-04 10:15 | IN | Open | Open | Open | Open Position | Low salinities.
2019-12-11 08:01 | IN | Closed | Closed | Closed | Closed Position | Closed to fix flow meter.
2019-12-11 15:41 | IN | Open | Open | Open | Open Position | Reopened after flow meter was fixed.
2020-01-10 12:00 | IN | Tidal | Tidal | Tidal | Tidal Operations | Rising salinities.
2020-04-20 11:42 | IN | Open | Open | Open | Open Position | Low salinities.
2020-05-11 14:28 | IN | Tidal | Tidal | Tidal | Tidal Operations | Rising salinities.
2020-05-27 08:00 | IN | Open | Open | Open | Open Position | Preparing for flashboard removal.
2020-05-28 09:32 | OUT | Open | Open | Open | Flashboards Removed | End of Control Season
2020-09-08 13:19 | IN | Open | Open | Open | Flashboards Installed | Flashboards installed early due to high salinity conditions.
2020-09-08 13:20 | IN | Tidal | Tidal | Tidal | Tidal Operations | High salinity conditions.
2020-09-24 06:35 | IN | Closed | Closed | Closed | Closed Position | Dive inspection.
2020-09-24 15:58 | IN | Open | Open | Open | Open Position | Operations suspended due to low enough salinities.
2020-10-09 14:00 | IN | Tidal | Tidal | Tidal | Tidal Operations | Rising salinities.
2020-11-18 02:25 | IN | Closed | Closed | Closed | Closed Position | Closed for Gate 3 refurbishment
2020-11-23 10:48 | IN | Tidal | Tidal | Closed | Tidal Operations | Gates 1 and 2 returned to service while Gate 3 is out for refurbishment.
2021-02-15 13:20 | IN | Open | Open | Closed | Open Position | Gates 1 and 2 temporarilly placed in Open position due to severed conduit.
2021-02-16 14:14 | IN | Tidal | Tidal | Closed | Tidal Operations | Gates 1 and 2 returned to service after conduit fixed.
2021-05-07 12:00 | IN | Closed | Tidal | Closed | Tidal Operations | Gate 1 gearbox failure.
2021-05-15 09:09 | IN | Tidal | Tidal | Closed | Tidal Operations | Gate 1 repaired and returned to service.
2021-06-01 08:45 | IN | Open | Open | Closed | Open Position | Gates opened due to end of control season.
2021-06-03 09:30 | OUT | Open | Open | Closed | Flashboards Removed | Flashboards removed at end of control season.
2021-08-23 12:18 | IN | Open | Open | Closed | Flashboards Installed | Flashboards Installed
2021-09-01 00:01 | IN | Tidal | Tidal | Closed | Tidal Operations | September operations began due to high salinity.
2021-09-03 11:15 | IN | Closed | Closed | Closed | Closed Position | Faulty transducer card
2021-09-13 14:00 | IN | Tidal | Tidal | Closed | Tidal Operations | Transducer card fixed
2021-10-24 18:35 | IN | Tidal | Tidal | Closed | Tidal Operations | Manual Operation due to suspect data.
2021-10-25 12:07 | IN | Tidal | Tidal | Closed | Tidal Operations | Issue fixed.
2021-11-10 10:40 | IN | Open | Open | Closed | Open Position | Operations suspended due to low enough salinities.
2021-11-29 13:25 | IN | Tidal | Tidal | Closed | Tidal Operations | Operations started due to rising salinities
2021-12-21 15:05 | IN | Open | Open | Closed | Open Position | Operations suspended due to low salinities.
2022-02-11 11:26 | IN | Tidal | Tidal | Closed | Tidal Operations | Operations started due to rising salinities at S-35.
2022-03-08 08:18 | IN | Open | Open | Closed | Open Position | Operations suspended due to low salinities at Compliance Stations. Control Stations remain higher.
2022-04-07 14:40 | IN | Tidal | Tidal | Closed | Tidal Operations | Operations started due to rising salinities in the western Marsh.
2022-05-31 23:59 | IN | Open | Open | Closed | Open Position | End of Control Season
2022-08-03 06:50 | IN | Closed | Closed | Closed | Closed Position | Gates closed for refurbishment work.
2022-08-26 16:55 | IN | Closed | Open | Closed | Open Position | Gate 2 returned to open position, Gate 1 removed for refurbishment with a stoplog in its place, Gate 3 closed for calibration testing.
2022-09-01 00:01 | IN | Closed | Tidal | Tidal | Tidal Operations | September operations began due to high salinity.
2022-09-08 12:41 | IN | Closed | Tidal | Open | Tidal Operations | Gate 3 failed to close due to mechanical issues.
2022-09-08 15:04 | IN | Closed | Tidal | Tidal | Tidal Operations | Gate 3 repaired and returned to tidal operations.
2023-01-05 14:38 | IN | Closed | Open | Open | Open Position | Gates placed in open position to reduce stage to combat overtopping RRDS levees at the intakes.
2023-06-11 11:13 | OUT | Closed | Open | Open | Open Position | Flashboards removed at end of control season.
2023-08-14 13:18 | IN | Closed | Open | Open | Flashboards Installed | Flashboards installed early to meet new ITP requirement of using 100 TAF of water.
2023-08-15 00:02 | IN | Closed | Tidal | Tidal | Tidal Operations | Operations started to meet new ITP requirement of using 100 TAF of water.
2023-10-18 00:01 | IN | Closed | Open | Open | Open Position | Operations suspended when 100 TAF block of water exhausted.
2023-11-06 07:42 | IN | Closed | Closed | Closed | Closed Position | Gates closed for refurbishment work. Gate 3 was installed and Gate 2 was sent for refurbishment.
2023-11-21 09:42 | IN | Closed | Closed | Open | Open Position | Gate 3 opened to freshen up Montezuma Slough. It had been accidentally left closed since the refurbishment swap out was done. Gate 1 is down due an electrical issue. Once fixed, tidal operations will begin due to rising salinities.
2023-11-27 10:00 | IN | Closed | Closed | Tidal | Tidal Operations | Manual Tidal operations started for Gate 3 due to rising salinties. Operations are manual due to downstream water level data being supsect. Gate 1 is still out due to electrical issues.
2023-12-02 13:45 | IN | Tidal | Closed | Tidal | Tidal Operations | Gate 1 fixed and returned to service. Gates 1 and 3 still in manual operation mode due to problems with downstream sensor.
2023-12-05 14:00 | IN | Tidal | Closed | Tidal | Tidal Operations | Downstream sensor fixed and Tidal Mode resumed for gate openings. However, now the velocity meter is malfunctioning and gate closings are manual.
2023-12-15 22:42 | IN | Closed | Closed | Tidal | Tidal Operations | Gate 1 cannot stay open and was closed to prevent damage. Gate 3 is not opening and closing at the correct times. Some operators are using manual operations and some are using tidal operations.
2023-12-19 15:31 | IN | Tidal | Closed | Tidal | Tidal Operations | The brakes were replaced for Gate 1 and it was returned to service. Both gates are operated manually due to sensor malfunctions.
2024-01-18 11:55 | IN | Tidal | Closed | Tidal | Tidal Operations | Downstream sensor fixed and Tidal Mode resumed for gate openings. The velocity meter is still malfunctioning and gate openings are manual.
2024-01-29 08:15 | IN | Open | Closed | Open | Open Position | Ops suspended due to declining salinities and more rain on the way.
2024-07-01 12:01 | IN | Tidal | Closed | Tidal | Tidal Operations | Operations begin for Summer-Fall Action, running for 60 days, followed by use of 100 TAF of water.
2024-08-29 23:59 | IN | Open | Closed | Open | Open Position | Ops suspended due to the end of the 60 days of Delta Smelt Summer-Fall operations.
2024-09-06 17:58 | IN | Tidal | Closed | Tidal | Tidal Operations | Operations extended for Summer-Fall Action, running through the end of September.
2024-09-30 23:59 | IN | Open | Closed | Open | Open Position | Ops suspended due to the end of the September Delta Smelt Summer-Fall operations.
2024-10-28 08:00 | IN | Tidal | Closed | Tidal | Tidal Operations | Ops begun for 1 week prior to Gate 2 reinstall due to rising salinities.

## Old
YEAR | FROM | FROM |  |  | TO | FROM | TO | FLASHBOARDS | GATE 1 | GATE 2 | GATE 3 | REMARKS
1988/89 | NOV. 1 | NOV | 1 | =A2 | APR. 7 | 1988-11-01 | 1989-04-07 | IN | OP | OP | OP | Full Bore Operation
1989 | APR. 7 | APR | 7 |  | SEPT. 26 | 1989-04-07 | 1989-09-26 | OUT | O | O | O | 3 Gates Held Open
1989 | SEPT. 26 | SEP | 26 |  | DEC. 8 | 1989-09-26 | 1989-12-08 | IN | OP | OP | OP | Full Bore Operation
1989 | DEC. 8 | DEC | 8 |  | DEC. 15 | 1989-12-08 | 1989-12-15 | IN | O | O | O | 3 Gates Held Open for Gate Test # 5
1989 | DEC. 17 | DEC | 17 |  | DEC. 22 | 1989-12-17 | 1989-12-22 | IN | C | C | C | 3 Gates Closed for Gate Test # 5
1989/90 | DEC. 22 | DEC | 22 |  | MAY. 31 | 1989-05-22 |  | IN | OP | OP | OP | Full Bore Operation
1990 | MAY. 31 | MAY | 31 |  | JUL. 15 | 1989-05-31 |  | OUT | O | O | O | 3 Gates Held Open
1990 | JUL. 16 | JUL | 16 |  | SEPT. 27 | 1990-07-16 |  | OUT | OP | OP | OP | Gate Test # 1
1990 | SEPT. 28 | SEP | 28 |  | SEPT. 30 | 1990-09-28 |  | IN | OP | OP | OP | Full Bore Operation
1990 | OCT. 1 | OCT | 1 |  | OCT. 30 | 1990-10-01 |  | IN | OP | OP | OP | Operating Daylight Hours Only
1990 | OCT. 30 | OCT | 30 |  | NOV. 16 | 1990-10-30 |  | IN | C | C | C | Middle Gate Broken
1990 | NOV. 16 | NOV | 16 |  | NOV. 20 | 1990-11-16 |  | IN | OP | C | OP | Middle Gate Broken
1990 | NOV. 20 | NOV | 20 |  | NOV. 28 | 1990-11-20 |  | IN | OP | OP | OP | Full Bore Operation
1990 | NOV. 28 | NOV | 28 |  | DEC. 5 | 1990-11-28 |  | OUT | OP | OP | OP | Remove stop logs to pass barge
1990 | DEC. 5 | DEC | 5 |  | DEC. 10 | 1990-12-05 |  | IN | OP | OP | OP | Full Bore Operation
1990 | DEC. 11 | DEC | 11 |  | DEC. 24 | 1990-12-11 |  | IN | O | O | O | Rock Slough Standard
1990/91 | DEC. 25 | DEC | 25 |  | JAN. 1 | 1990-12-25 |  | IN | OP | OP | OP | Full Bore Operation
1991 | JAN. 2 | JAN | 2 |  | JAN. 18 | 1991-01-02 |  | IN | O | O | O | 3 Gates Open
1991 | JAN. 18 | JAN | 18 |  | MAY. 30 | 1991-01-18 |  | IN | OP | OP | OP | Full Bore Operation
1991 | MAY. 31 | MAY | 31 |  | JUL. 17 | 1991-05-31 |  | OUT | O | O | O | 3 Gates Held Open
1991 | JUL. 18 | JUL | 18 |  | SEPT. 16 | 1991-07-18 |  | OUT | OP | OP | OP | Gate Test # 2
1991 | SEPT. 16 | SEP | 16 |  | OCT. 18 | 1991-09-16 |  | OUT | C | C | C | Maintenance work
1991 | OCT. 18 | OCT | 18 |  | NOV. 18 | 1991-10-18 |  | IN | OP | OP | OP | Full Bore Operation
1991 | NOV. 18 | NOV | 18 |  | NOV. 22 | 1991-11-18 |  | IN | O | O | O | 3 Gates Held Open
1991 | NOV. 22 | NOV | 22 |  | DEC. 12 | 1991-11-22 |  | IN | OP | OP | OP | Full Bore Operation
1991/92 | DEC. 12 | DEC | 12 |  | JAN. 9 | 1991-12-12 |  | IN | OP | OP | OP | Daylight operations for WR salmon
1992 | JAN. 9 | JAN | 9 |  | MAR. 1 | 1992-01-09 |  | IN | OP | OP | OP | Full Bore Operation
1992 | MAR. 1 | MAR | 1 |  | MAR. 24 | 1992-03-01 |  | IN | C | C | C | Winter Run salmon
1992 | MAR. 24 | MAR | 24 |  | MAY. 27 |  |  | IN | OP | OP | OP | Full Bore Operation
1992 | MAY. 27 | MAY | 27 |  | OCT. 1 |  |  | OUT | O | O | O | 3 Gates Held Open
1992 | OCT. 1 | OCT | 1 |  | OCT. 5 |  |  | IN | OP | OP | OP | Operate with 1/3 Partial Gate Opening
1992 | OCT. 6 | OCT | 6 |  | OCT. 8 |  |  | IN | OP | OP | OP | Operate with 2/3 Partial Gate Opening
1992 | OCT. 9 | OCT | 9 |  | OCT. 14 |  |  | IN | OP | OP | OP | Full Bore Operation
1992 | OCT. 15 | OCT | 15 |  | OCT. 18 |  |  | IN | OP | OP | OP | Operate with 1/3 Partial Gate Opening
1992 | OCT. 19 | OCT | 19 |  | OCT. 26 |  |  | IN | OP | OP | OP | Operate with 2/3 Partial Gate Opening
1992 | OCT. 27 | OCT | 27 |  | OCT. 28 |  |  | IN | OP | OP | OP | Operate with 1/3 Partial Gate Opening
1992 | OCT. 28 | OCT | 28 |  | OCT. 31 |  |  | IN | OP | OP | OP | Gates Oper. Manually b/c AVM broken
1992 | NOV. 1 | NOV | 1 |  | NOV. 2 |  |  | IN | OP | OP | OP | Operate with 1/3 Partial Gate Opening
1992 | NOV. 3 | NOV | 3 |  | NOV. 8 |  |  | IN | OP | OP | OP | Full Bore Operation
1992/93 | NOV. 9 | NOV | 9 |  | JAN. 4 |  |  | IN | OP | OP | OP | Operate with 1/3 Partial Gate Opening
1993 | JAN. 5 | JAN | 5 |  | JAN. 21 |  |  | IN | OP | OP | OP | Full Bore Operation
1993 | JAN. 22 | JAN | 22 |  | MAY. 30 |  |  | IN | O | O | O | Channel salinity well below standards
1993 | MAY. 31 | MAY | 31 |  | SEP. 6 |  |  | OUT | O | O | O
1993 | SEP. 7 | SEP | 7 |  | SEP. 16 |  |  | IN | O | O | O
1993 | SEP. 17 | SEP | 17 |  | DEC. 13 |  |  | IN | OP | OP | OP | Full Bore Operation
1993 | DEC. 13 | DEC | 13 |  | DEC. 14 |  |  | IN | O | O | O | 3 Gates Held Open
1993/94 | DEC. 14 | DEC | 14 |  | FEB. 10 |  |  | IN | OP | OP | OP | Full Bore Operation
1994 | FEB. 10 | FEB | 10 |  | FEB. 16 |  |  | IN | C | OP | OP | Full Bore with one gate under repair
1994 | FEB. 16 | FEB | 16 |  | FEB. 18 |  |  | IN | C | C | C | 3 Gates Closed
1994 | FEB. 18 | FEB | 18 |  | MAY. 9 |  |  | IN | C | OP | OP | Full Bore with one gate under repair
1994 | MAY. 9 | MAY | 9 |  | MAY. 11 |  |  | OUT | C | OP | OP | Full Bore with one gate under repair
1994 | MAY. 11 | MAY | 11 |  | AUG. 2 |  |  | OUT | C | O | O | One gate closed and two open
1994 | AUG. 2 | AUG | 2 |  | SEPT. 1 |  |  | OUT | O | O | O | 3 Gates Held Open
1994 | SEPT. 1 | SEP | 1 |  | SEPT. 3 |  |  | IN | C | C | C | 3 Gates Closed
1994 | SEPT. 3 | SEP | 3 |  | SEPT. 6 |  |  | IN | OP | OP | OP | Full Bore Operation
1994 | SEPT. 6 | SEP | 6 |  | SEPT. 8 |  |  | IN | C | OP | OP | One gate closed and two operating
1994 | SEPT. 8 | SEP | 8 |  | SEPT. 9 |  |  | IN | C | C | C | 3 Gates Closed
1994 | SEPT. 9 | SEP | 9 |  | OCT. 7 |  |  | IN | OP | OP | OP | Full Bore Operation
1994 | OCT. 8 | OCT | 8 |  | OCT. 23 |  |  | IN | O | O | O | Fish Study with flashboards installed
1994 | OCT. 24 | OCT | 24 |  | NOV. 14 |  |  | OUT | O | O | O | Fish Study without flashboards installed
1994 | NOV. 15 | NOV | 15 |  | NOV. 17 |  |  | IN | OP | OP | OP | Manual Full Bore Operation
1994/95 | NOV. 18 | NOV | 18 |  | JAN. 10 |  |  | IN | OP | OP | OP | Automatic Full Bore Operation
1995 | JAN. 11 | JAN | 11 |  | FEB. 7 |  |  | IN | O | O | O | 3 Gates open b/c well below standards, and high Delta outflows
1995 | FEB. 8 | FEB | 8 |  | MAY. 31 |  |  | OUT | O | O | O | 3 Gates open b/c well below standards, and high Delta outflows
1995/96 | JUN. 1 | JUN | 1 |  | NOV. 12 |  |  | OUT | O | O | O
1996 | NOV. 13 | NOV | 13 |  | NOV. 27 |  |  | IN | OP | OP | OP | Operate due to observed salinity increase
1996/97 | NOV. 28 | NOV | 28 |  | FEB. 2 |  |  | IN | O | O | O | 3 Gates open b/c well below stds.
1997 | FEB. 3 | FEB | 3 |  | OCT. 13 |  |  | OUT | O | O | O | 3 Gates open b/c well below stds.
1997 | OCT. 14 | OCT | 14 |  | DEC. 3 |  |  | IN | OP | OP | OP | Operate due to observed salinity increase
1997/1998 | DEC. 4 | DEC | 4 |  | FEB.7 |  |  | IN | O | O | O | 3 Gates open b/c well below stds.
1998 | FEB. 8 | FEB | 8 |  | SEP. 27 |  |  | OUT | O | O | O | FB taken out due to flood reasons
1998 | SEP. 28 | SEP | 28 |  | SEP. 30 |  |  | IN | O | O | O | 3 Gates open, FB installed
1998 | OCT. 1 | OCT | 1 |  | OCT. 12 |  |  | IN | OP | OP | OP | 3 Gates Tidal operation
1998 | OCT. 13 | OCT | 13 |  | OCT. 26 |  |  | OUT | O | O | O | Stoplogs under spacers fabrication
1998 | OCT. 27 | OCT | 27 |  | NOV. 12 |  |  | IN-MOD | OP | OP | OP | Tidal operation w/ modified flashboards
1998/1999 | NOV. 13 | NOV | 13 |  | FEB. 2 |  |  | IN-MOD | O | O | O | modified fb installed, 3 gates open
1999 | FEB. 3 | FEB | 3 |  | FEB.3 |  |  | IN-MOD | C | C | C | modified fb installed, 3 gates closed from 10:35 to 14:07 for velocity test at stoplogs
1999 | FEB. 3 | FEB | 3 |  | APR.6 |  |  | IN-MOD | O | O | O | 3 gates open from 14:07 on, w/ modified stoplogs.
1999 | APR.7 | APR | 7 |  | AUG.31 |  |  | OUT | O | O | O | Stoplogs out; 3 gates open
1999 | SEP. 01 | SEP | 1 |  | SEP.26 |  |  | IN-MOD | OP | OP | OP | automated operation w/modified fb
1999 | SEP.27 | SEP | 27 |  | OCT.14 |  |  | IN | OP | OP | OP | operation w/original fb installed
1999 | OCT.15 | OCT | 15 |  | NOV.9 |  |  | OUT | O | O | O | gates opened and flashboards out
1999 | NOV.10 | NOV | 10 |  | DEC. 9 |  |  | IN-MOD | OP | OP | OP | operate despite variance w/modified fb due to water quality concerns in the marsh
1999/2000 | DEC. 10 | DEC | 10 |  | Jan. 16 |  |  | IN-MOD | O | O | O | Gates held open temporarily to provide additional 300 cfs outflows for water quality concerns in the Delta
2000 | Jan. 17 | Jan | 17 |  | Feb. 29 |  |  | In-Mod | Op | Op | Op | operate despite variance w/modified fb due to water quality concerns in the marsh
2000 | Mar. 1 | Mar | 1 |  | Mar. 27 |  |  | In-Mod | O | O | O | good water quality conditions, but still monitoring
2000 | Mar.28 | Mar | 28 |  | Nov.3 |  |  | Out | O | O | O | anticipate no water quality problem
2000/2001 | Nov.4 | Nov | 4 |  | May. 13 |  |  | In | Op | Op | Op | operated due to water quality concerns
2001 | May. 14 | May | 14 |  | Oct. 7 |  |  | OUT | O | O | O | Stop operations. Anticipate no w.q. concern for remaining month
2001 | Oct. 8 | Oct | 8 |  | Oct. 21 |  |  | IN | M-Op | M-Op | M-Op | boat lock gates held open for fish study
2001 | Oct. 22 | Oct | 22 |  | Oct. 25 |  |  | IN | M-Op | M-Op | Op | boat lock gates closed for fish study
2001 | Oct.26 | Oct | 26 |  | Oct.28 |  |  | IN | M-Op | M-Op | C | gate #3 was stuck closed. Fish test continued
2001 | Oct.29 | Oct | 29 |  | NOV. 2 |  |  | IN | M-Op | M-Op | M-Op | gate #3 fixed.
2001/2002 | Nov. 6 | Nov | 6 |  | Jan. 16 |  |  | IN | Op | Op | Op | gates automatic operations resumed.
2002 | Jan. 17 | Jan | 17 |  | May. 5 |  |  | IN | O | O | O | condition is good to stop gate oper., but keep fb installed if need to resume gate oper.
2002 | May.6 | May | 6 |  | May.31 |  |  | Out | O | O | O | conditions good for the remaining control season
2002 | Sept. 25 | Sep | 25 |  | Oct.8 |  |  | IN | Op | Op | Op | full bore operation with boat lock closed for fish passage test
2002 | Oct. 9 | Oct | 9 |  | Oct. 22 |  |  | IN | O | O | O | All gates Open with boat lock closed for fish test
2002 | Oct. 23 | Oct | 23 |  | Nov. 6 |  |  | IN | M-Op | M-Op | M-Op | full bore operation with boat lock open
2002 | Nov.7 | Nov | 7 |  | Dec.30 |  |  | IN | Op | Op | Op | normal operation with boat lock closed
2002/2003 | Dec.31 | Dec | 31 |  | May.15 |  |  | IN | O | O | O | FB in with 3 gates held Open due to good WQ
2003 | May.16 | May | 16 |  | Sept.27 |  |  | Out | O | O | O | FB removed; anticipate no wq concerns for remaining control season
2003 | Sept. 28 | Sep | 28 |  | Sep.29 |  |  | IN | O | O | O | FB installed but gates open
2003 | Sep.30 | Sep | 30 |  | Oct.13 |  |  | In | Op | Op | Op | full ops with boat lock closed
2003 | Oct.14 | Oct | 14 |  | Oct.28 |  |  | IN | M-Op | M-Op | M-Op | full ops with boat lock open; contractors had problems with equip., so removal of fb not done until Oct.28 morning
2003 | Oct.29 | Oct | 29 |  | Nov.11 |  |  | OUT | O | O | O | full open with FB out and boat lock closed
2003 | Nov.12 | Nov | 12 |  | Dec.14 |  |  | IN | Op | Op | Op | normal operation with boat lock closed to control salinity
2003/2004 | Dec.15 | Dec | 15 |  | May.12 |  |  | IN | O | O | O | gates held open due to favorable outlfow in Dec per O&M
2004 | May.13 | May | 13 |  | Sept.27 |  |  | OUT | O | O | O | removal of stoplogs due to favorable salinity levels
2004 | Sept. 28 | Sep | 28 |  | Oct. 11 |  |  | OUT | Clsd | O | O | gate 1 closed position due to cable failure. Repair underway. Boatlock closed.
2004 | Oct. 12 | Oct | 12 |  | Oct. 25 |  |  | IN | Clsd | Op | Op | oper. With gate 1 closed and boatlock open for fish study.
2004 | Oct. 26 | Oct | 26 |  | Nov. 9 |  |  | IN | Clsd | Op | Op | oper. With gate 1 closed and boatlock closed for fish study.
2004/2005 | Nov. 10 | Nov | 10 |  | Jan.13 |  |  | IN | Clsd | Op | Op | oper. With gate 1 closed and boatlock OPEN per NOAA request for this season only. Per DFD staff, had pressure transducer problems on Nov. 13 or earlier and both u/s and d/s wiring were pulled and calibrated on Nov. 17. Thereafter, gate seems to be operating normally with the tidal cycle.
2005 | Jan. 14 | Jan | 14 |  | Feb.8 |  |  | IN | Clsd | Op | O | Gate # 3 cable broke and placed in OPEN position; boatlock still open per NOAA request; Gate # 1 still in closed position due to cable failure in Sept. 2004; Per OCO staff, dive time schedule to do an inspection dive on Gate # 3 on 1/21/05.
2005 | Feb. 9 | Feb | 9 |  | May.19 |  |  | IN | Clsd | O | O | Gate 1 and 3 broken cable awaiting repairs; boatlock open per NOAA for remainder of control season and closed only for safe boat passage; Gate 2 in Open status due to ceased operations as a result of good water quality conditions and will resume operation as needed to control salinity
2005 | May.20 | May | 20 |  | Jul.18 |  |  | OUT | Clsd | O | O | Stoplogs removed at 1130 hrs per DFD staff.
2005 | Jul.19 | Jul | 19 |  | Nov.8 |  |  | OUT | O | O | O | Gate 1 repair completed and place in OPEN status at 1600hrs.
2005 | Nov. 9 | Nov | 9 |  | Nov.13 |  |  | IN | O | O | O | Flashboards installed and gates open; failed communication resulted no gate operation to go as schedule after fb installation.
2005 | Nov.14 | Nov | 14 |  | Nov.30 |  |  | IN | Op | Op | Op | Manual mode operation on 11/14/05; have transducer and power problems so auto mode failed to work correctly and ISR data questionable; auto PLC mode active on 11/15/05 @1645 hrs per email from DFD staff. Boatlock open through the control season per agrement with NOAA, however, only open daytime due to no boat lock staff night time hours.
2005/2006 | Dec.1 | Dec | 1 |  | Jan. 5 |  |  | IN | O | O | O | 3 gates held open due to good water quality; fb remains installed;bl open during daylight hrs
2006/2007 | Jan. 6 | Jan | 6 |  | Jan.23 |  |  | OUT | O | O | O | 3 gates held open and fb removed at 800 hr to allow access for levee repair from flood damage in suisun marsh w/boat lock gates closed since flashboards are removed.
2007 | Jan.24 | Jan | 24 |  | Jan.24 |  |  | IN | O | O | O | flashboards installed and 3 gates held open
2007 | Jan.25 | Jan | 25 |  | Feb.28 |  |  | IN | Op | Op | Op | gates operating tidally with fb installed and boat lock gates open per NOAA agreement, however, during daylight hrs are the bl gates open; closed at night time
2007 | Mar.1 | Mar | 1 |  | Apr.22 |  |  | IN | O | O | O | 3 gates held open due to good water quality; fb remains installed;bl open all day long since the signage and notices for safety reasons are completed by DFD.
2007 | Apr.23 | Apr | 23 |  | Nov.29 |  |  | OUT | O | O | O | due to favorable water quality conditions, flashboards were removed today and 3 gates remain held open
2007 | Nov.30 | Nov | 30 |  | Dec.16 |  |  | IN | Op | Op | Op | Operate gates auto mode at noon or 12:00 hrs due to salinity concern with boat lock gates open 24/7
2007/2008 | Dec.17 | Dec | 17 |  | Apr.29 |  |  | IN | O | O | O | 3 gates held open at 15:15 hr per DFD to balance smelt concern in west Delta but will not compromise salinity standards in the process. Boat lock gates open 24/7
2008 | Apr.30 | Apr | 30 |  | Sep.30 |  |  | OUT | O | O | O | Flashboards removed around late afternoon.
2008 | Oct.2 | Oct | 2 |  | Oct.14 |  |  | IN | Op | Op | Op | 3 gates tidally operating with fb installed and boat lock gates open 24/7 per NOAA agreement
2008 | Oct.15 | Oct | 15 |  | Nov.23 |  |  | IN | O | O | O | 3 gates held open at 18:30 due to lower salinity levels at most marsh stations and to balance fish concern in the Delta; boatlock open 24/7; Between Nov.18-20, repair work was done on boat lock hydraulic leaks with lock open mode
2008 | Nov.24 | Nov | 24 |  | Nov.26 |  |  | IN | Op | Op | Op | resume gate operations in manual mode (since auto PLC is down) due to salinity concern at S49 due to good faith effort;
2008 | Nov.27 | Nov | 27 |  | Nov.29 |  |  | IN | Clsd | Op | Op | manual ops continue due to electical problem with PLC; Delta staff reported gate #1 failed on 11/27 @ 1700 hrs and in closed position; will assess and determine repair work needed
2008 | Nov.30 | Nov | 30 |  | Dec.1 |  |  | IN | Clsd | Clsd | Clsd | Between 11/30 5:30pm to 12/1 5:30pm all three gates held closed
2008 | Dec.1 | Dec | 1 |  | Dec.1 |  |  | IN | Clsd | O | O | 12/1 @ 1731 hrs DFD suspend gate op per SMSCG ops group effort to balance fish concerns
2008 | Dec.2 | Dec | 2 |  | Dec.4 |  |  | IN | O | O | O | Gate #1 repaired and placed Open @ 1309 hr and Auto-PLC repaired per DFD staff
2008 | Dec.5 | Dec | 5 |  | Dec.5 |  |  | IN | Op | Op | Op | salinity concern in the marsh, thus DFD resumed gate oper. in auto mode
2008 | Dec.6 | Dec | 6 |  | Dec.7 |  |  | IN | Clsd | Op | Op | gate #1 failed again and in clsd mode since 12/6/08 @1226 hr and 2 gates auto mode per DFD
2008 | Dec.8 | Dec | 8 |  | Dec.18 |  |  | IN | Op | Op | Op | gate #1 operational again at 1318hrs on 12/8 per DFD; all in auto mode
2008 | Dec.19 | Dec | 19 |  | Jan.15 |  |  | IN | O | O | O | suspended gate operations due to favorable precip. forecasted and salinity slightly below standard
2009 | Jan.16 | Jan | 16 |  | Jan.19 |  |  | IN | Op | Op | Op | salinity concern in the marsh at S49, thus DFD resumed gate oper. in auto mode at 1015 hrs per DFD.
2009 | Jan. 20 | Jan | 20 |  | Jan.29 |  |  | IN | Op | Clsd | Op | Gate #2 in clsd position due to motor blow out per DFD; awaiting repair work/parts
2009 | Jan. 30 | Jan | 30 |  | Feb.4 |  |  | IN | Op | Op | Op | Gate #2 fixed on 1/30/09 @ 1422 hr per DFD; continue gate ops with all gates functional
2009 | Feb. 5 | Feb | 5 |  | Feb.18 |  |  | IN | O | O | O | Suspend gate ops due to low salinity levels throughout marsh and anticipated precip.
2009 | Feb.19 | Feb | 19 |  | Feb.20 |  |  | IN | Op | Op | Op | resume gate operations in auto mode @ 8:35 am per DFD due to salinity concerns in the marsh.
2009 | Feb.21 | Feb | 21 |  | Feb. 26 |  |  | IN | Op | Op | Op | gates cycling (i.e. open/close) every hour due to avm failure and put under manual oper and operate on elevation criteria ONLY for now per DFD
2009 | Feb.27 | Feb | 27 |  | May.19 |  |  | IN | O | O | O | suspended gate operations as of 0930 hrs per DFD due to low salinity levels in the marsh; AVM remained out of service
2009 | 2018-05-20 | May | 20 |  | Oct.7 |  |  | OUT | O | O | O | flashboards removed early morning; ceased gate oper. for the remainder of the control season due to low salinity levels in the marsh;AVM remained out of service
2009 | Oct. 8 | Oct | 8 |  | Nov.23 |  |  | IN | O | O | O | installed fb but no gate ops with boatlock open 24/7 per NOAA agreement
2009 | Nov. 24 | Nov | 24 |  | Nov.30 |  |  | IN | Op | Op | Op | oper. gates at 2:30pm per DFD; due to salinity concern at S49 to meet DRF, 1c criteria; oper. Based on .3 ft trigger but data indicates improper operations of the gates and DFD chief Doug Thompson has been informed
2009 | Dec.1 | Dec | 1 |  | 1900-01-19 |  |  | IN | O | O | O | ceased gate op due to no salinity concern at this time and early in the month; AVM still out; repair work on boatlock gates hydraulic ram due to oil leak prior days was complete done and complete on same day, 12/7, sooner than expected; DFD plans to refurb. the hydraulic unit summer of 2010 to prevent future oil leaks.
2009 | Dec.21 | Dec | 21 |  | Dec. 22 |  |  | IN | O | Op | Op | gate #1 failed @ 1345hr in an attempt to operate the gates for salinity concerns per DFD. DFD put in repair request. Gate #1 held open until repair work done.
2009 | Dec.23 | Dec | 23 |  | Dec. 27 |  |  | IN | Op | Op | Op | Gate 1 repaired and put into operation.
2009/2010 | Dec. 28 | Dec | 28 |  | Jan.3 |  |  | IN | Clsd | Op | Op | Gate 1 broke open on 12/27. Forced closed on 12/28.
2010 | Jan.4 | Jan | 4 |  | Jan. 5 |  |  | IN | Clsd | O | O | ceased gate op due to no salinity concern at this time and early in the month; AVM still out; gate #1 still out and is being requested to be placed in "open" position; gate op. has been erratic since 12/21/09 due to gate #1 failure being in open mode then closed at another point in time and operators getting the feel of the system between 12/21/09 and 1/3/10 period
2010 | Jan. 6 | Jan | 6 |  | Mar.9 |  |  | IN | O | O | O | Gate 1 forced open.
2010 | Mar.10 | Mar | 10 |  | Apr.13 |  |  | IN | O | O | O | New AVM installed 3/10 but gates remained open and no salinity concerns.
2010 | Apr.14 | Apr | 14 |  | Apr.25 |  |  | IN | O | Op | Op | operate gates to test auto mode operations with new AVM recently installed; AVM triggers need to verify if set at clsd < .1 ft/s and open > .3 ft; gate 1 still out and awaiting repair work
2010 | Apr. 26 | Apr | 26 |  | Oct.11 |  |  | OUT | O | O | O | Flashboards removed; BL clsd; 3 gates held open; end gate ops for remainder of control season
2010 | Oct. 12 | Oct | 12 |  | Nov.15 |  |  | IN | O | O | O | Flashboards installed and BL open at 1100 hrs DST with 3 gates held open b/c no salinity concern yet
2010 | Nov.16 | Nov | 16 |  | Nov.24 |  |  | IN | Op | O | O | Only gate # 1 works in auto PLC; gate#2 and #3 failed to open/closed remotely due to electrical problems per DFD; awaiting repair work
2010 | Nov.25 | Nov | 25 |  | Nov.25 |  |  | IN | Op | C | C | gates 2 and 3 set in closed position; gate 1 oper. in auto PLC
2010 | Nov.26 | Nov | 26 |  | Nov.29 |  |  | IN | Op | C | C | gate 1 operate in manual mode based on .3 ft trigger b/c auto failed
2010 | Nov.30 | Nov | 30 |  | Dec.7 |  |  | IN | Op | Op | C | gate 1 and 2 operating; gate 3 still out per DFD
2010/2011 | Dec.8 | Dec | 8 |  | Feb.2 |  |  | IN | O | O | C | Suspend gate ops due to low salinity levels throughout marsh
2011 | Feb.3 | Feb | 3 |  | May.17 |  |  | IN | O | O | O | DFD repaired gate #3 and completed gate test. Placed in held open position for now.
2011 | May.18 | May | 18 |  | Oct.20 |  |  | OUT | O | O | O | removal of stoplogs due to favorable salinity levels and bl closed; later in the year because of owl situation in early months, otherwise would have removed sooner in April; FYI, DFD will refurb. d/s boatlock gates due to corrosion and will do u/s next yr
2011/2012 | Oct.21 | Oct | 21 |  | Jan.3 |  |  | IN | O | O | O | FB installed but gates open due to no salinity concern at this time; bl open partially due to safety concerns
2012 | Jan.4 | Jan | 4 |  | Feb. 14 |  |  | IN | Op | Op | Op | Gates operated due to salinity concerns.
2012 | Feb. 28 | Feb | 28 |  | Apr. 30 |  |  | IN | O | O | O | Special conditions tag placed on gate 1 to prevent operations due to Great Horned Owl nesting there.
2012 | May 1 | May | 1 |  | Oct. 10 |  |  | OUT | O | O | O | Great Horned Owl eggs disappeared. Special conditions tag removed 4/24/12.
2012 | Oct.11 | Oct | 11 |  | Nov. 27 |  |  | IN | Op | Op | Op | Flashboards installed. Boat lock and gates operational.
2012/2013 | Nov. 28 | Nov | 28 |  | May 1 |  |  | IN | O | O | O | 3 Gates Held Open
2013 | May 2 | May | 2 |  | May 9 |  |  | IN | Op | Op | O | Gates 1 and 2 started operating at 11 AM. Gate 3 malfunctioned.
2013 | May 10 | May | 10 |  | May 20 |  |  | IN | Op | Op | Op | Gate 3 is back in service 2:36 PM. DFD electricians and mechanics found the brakes welded to the motor housing. They were able to remove the damaged brake and replace with a new one.
2013 | May 21 | May | 21 |  | May 29 |  |  | IN | O | O | O | Email sent by Dan Y to stop gate ops. 5/21/13 3:49 PM
2013 | May 30 | May | 30 |  | Oct 10 |  |  | OUT | O | O | O | Removed flashboards, boat lock closed.
2013 | Oct 11 | Oct | 11 |  | Oct 17 |  |  | IN | O | O | O | Flashboards installed & boat lock operational. Delay in installing FB due to refurbishing.
2013 | Oct 18 | Oct | 18 |  | Nov 7 |  |  | IN | M-Op | M-Op | M-Op | Gates operated due to salinity concerns. Auto mode failed. DFD operating in manual mode. Parts were ordered.
2013 | Nov 8 | Nov | 8 |  | Nov 24 |  |  | IN | Op | Op | Op | Gates back in PLC auto mode.
2013 | Nov 25 | Nov | 25 |  | Dec 1 |  |  | IN | O | O | O | Gates set in OPEN position as of 6:30 AM 11/25/13
2013/14 | Dec 2 | Dec | 2 |  | Jun 1 |  |  | IN | Op | Op | Op | Gates operated due to salinity concerns. PLC Auto at 1500
2014 | Jun 2 | Jun | 2 |  | Jun 3 |  |  | IN | O | O | O | Gates placed in open position on June 2nd.
2014 | Jun 3 | Jun | 3 |  | Sep 2 |  |  | OUT | O | O | O | Flashboards removed June 3rd.
2014 | Sep 3 | Sep | 3 |  | Oct 6 |  |  | IN | Op | Op | Op | Flashboards intalled. Operation to meet the 7-day running avg of 17 mS/cm for the RSMPA
2014 | Oct 7 | Oct | 7 |  | Oct 21 |  |  | IN | O | O | O | Stopped gate operations. Interior Delta needs help meeting stds.
2014 | Oct 22 | Oct | 22 |  | Nov 18 |  |  | IN | Op | Op | Op | Started ops to bring salinity down. Want to enter Nov w/ stations near Nov stds.
2014 | Nov 19 | Nov | 19 |  | Dec 3 |  |  | IN | O | O | O | Electrical control system failure. Gates set in O position while repairs conducted.
2014 | Dec 4 | Dec | 4 |  | Dec 14 |  |  | IN | Op | Op | Op | Repairs done.
2014 | Dec 15 | Dec | 15 |  | Dec 31 |  |  | IN | O | O | O | PLC replacement project started Dec 15th. Completed on Dec 31st. Set in tidal ops.
2015 | Jan 1 | Jan | 1 |  | Jun 1 |  |  | IN | Op | Op | Op | Even tho salinity is low, tidal ops are continuing so that bugs in the programming can be worked out. Gates are operating erratically.
2015 | Jun 2 | Jun | 2 |  | Aug 27 |  |  | OUT | O | O | O | Concerns over salinity. Operated until June 2 when the flashboards were removed.
2015 | Aug 28 | Aug | 28 |  | Nov 19 |  |  | IN | Op | Op | Op | Flashboards installed. Sept operations.
2015 | Nov 20 | Nov | 20 |  | Dec 2 |  |  | IN | O | O | O | Salinity is in the 12-14 range for the compliance stations.
2015/16 | Dec 3 | Dec | 3 |  | Feb 2 |  |  | IN | Op | Op | Op | Salinity increased at Sunrise (16.9) and Beldon (18.48).
2016 | 2018-02-03 | Feb | 3 |  | May 23 |  |  | IN | O | O | O | Salinity in low for the compliance stations. We're watching the monitoring stations for DRF
2016 | May 24 | May | 24 |  | Sep 30 |  |  | OUT | O | O | O | Flashboards removed and gates are closed.
2016 | Oct 1 | Oct | 1 |  | Oct 16 |  |  | IN | O | O | O | Flashboards installed.
2016 | Oct 17 | Oct | 17 |  | Dec 7 |  |  | IN | Op | Op | Op | Ops started given increasing salinity at compliance stations (14-18 range). Std is 15.5 for Nov.
2016 | Dec 8 | Dec | 8 |  | May 11 |  |  | IN | O | O | O | Salinity levels are low so stopped op of gates.
2017 | May 12 | May | 12 |  | Nov 20 |  |  | OUT | O | O | O | Removed flashboards, boat lock closed.
2017 | Nov 20 | Nov | 20 |  | 2018-12-14 |  |  | IN | O | O | O | Flashboards installed.
2017 | 2018-12-15 | Dec | 15 |  | 2018-12-15 |  |  | IN | OP | OP | Clsd | Gates 1 and 2 tidal ops, Gate 3 closed due to electrical circuit breaker failure .
2017 | 2018-12-16 | Dec | 16 |  | 2018-12-20 |  |  | IN | OP | Clsd | Clsd | Gate 1 tidal ops, Gate 2 closed due to mechanical bind, Gate 3 closed due to electrical circuit breaker failure .
2017 | 2018-12-21 | Dec | 21 |  | 2018-12-28 |  |  | IN | OP | OP | Clsd | Gates 1 and 2 tidal ops, Gate 3 closed due to electrical circuit breaker failure .
2017 | 2018-12-29 | Dec | 29 |  |  |  |  | IN | OP | Clsd | Clsd | Gate 1 tidal ops, Gates 2 and 3 closed .
| due to AVM failure, the gates are operated manually based on forecast open/closed times O&M provided to DFD. | due to AVM failure, the gates are operated manually based on forecast open/closed times O&M provided to DFD.
Note: Gate #1 to # 3 numbering starts from the maintenance channel end per SMSCG site plan.
| period when stoplogs were installed/removed within the control season. A total of 5 occurrences since time of operations in Fall 1988. | period when stoplogs were installed/removed within the control season. A total of 5 occurrences since time of operations in Fall 1988.
O | open | open
OP | operational | operational
Clsd | closed | closed
M-Op | Manual Operation | Manual Operation